| Version 2025 May 29 | Updated MRL Approved RAK |  |
| --- | --- | --- |

# SMM 7.2.5 Lockout/Tagout Checklist

Definition:

Lockout/Tagout: working on electrical power systems aboard UW MAROPS vessels.

Checklist:

- All personnel have been informed of the pending operation and affected equipment  secured to avoid damaging essential components.

- The Lock Out/Tag Out Record has been posted.

- Your supervisor has ensured that the proper protective equipment for the assigned task is supplied and in use.

- A separate sign has been posted in the space warning everyone that electrical work is in progress and marked circuits are secured for safety.

- The Chief Engineer has identified all potential circuits, valves, and systems which may be impacted by an assigned task.

- Multiple power sources have been identified and secured. (e.g. UPS, propulsion motor    heaters, etc.)

- Identified circuits at all controlling locations are tagged with a red tag and all power sources to that circuit secured.

- The controlling locations, circuits, valves, and systems have been secured by a lock and key.  The key has been identified by a red tag noting the circuit number.

- The key and tag have been posted in the Engine Control Room on the Safety Bulletin board.

- Conduct a briefing between those involved with the work including any vendors/contractors.

- After the work is completed and tested, the lock and tags have been removed and notices taken down from the Safety bulletin boards.

Record Sheet:

The following equipment/system has been (circle one):	Locked Out		Tagged Out

Date/Time:____________________________________________________________________

Equipment/System:_____________________________________________________________

Circuit(s), Valve(s), System(s):____________________________________________________

_____________________________________________________________________________

By Who:______________________________________________________________________

Why:_________________________________________________________________________

Lock/Tag:_____________________________________________________________________

Authorized by Chief Engineer or designee:___________________________________________

Work Completed Checklist:

- After work is completed, the LOTO has been removed, and all circuits/systems have been restored to normal condition

- All personnel who were impacted by this LOTO have been informed that the task is complete

Lock Out/Tag Out Release:

Date/Time:____________________________________________________________________

By Who:______________________________________________________________________

Equipment/System Test & Restore:_________________________________________________

Authorized by Chief Engineer or designee:___________________________________________

Enter form into Sinex